{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":28,"n_cols":11,"rows_kept":28,"merged":[[0,0,0,10],[1,0,1,2],[1,3,1,10],[24,0,24,10],[25,0,25,10],[26,0,26,10],[27,0,27,10]],"flags":["formulas_cached_only"]}
["物资品牌确认清单"]
["需求描述",null,null,"供应商提报描述"]
["序号","物资说明","单位","品牌型号1","参数1","质保期1","品牌型号2","参数2","质保期2","......","备注"]
[1,"消防工具柜[1600*1200*400mm;铁质红色，左侧四层，层高分别35cm、25cm、40cm、60cm，右侧放消防板斧;柜体两侧标\"消防工具柜\"字样，钢化玻璃平推双开门]","个"]
[2,"消防腰斧[消防救援专用，带消防斧套，符合国家消防行业标准]","把"]
[3,"灭火器[MFZ/ABC5;5kg手提干粉灭火器]","个"]
[4,"防火毯[1.5m*1.5m，阻燃隔热，热处理玻璃纤维，动火作业防护]","个"]
[5,"消防铁锹[小型铲;含铲全长约67cm，手柄宽12cm左右，铲宽度约15cm]","把"]
[6,"消防头盔[符合国家消防行业标准]","个"]
[7,"消防手套[符合编GA7-2004消防行业标准]","付"]
[8,"消防腰带[符合国家消防行业标准]","个"]
[9,"消防灭火防护靴[符合国家消防行业标准]","双"]
[10,"消防导向绳组套[100m/卷，直径10.5mm，带手提卷盘]","卷"]
[11,"消防水桶[红色塑料材质，带盖，高约25cm，上部直径约30cm，底部直径约20cm，桶体有黄色\"消防水桶\"字样，字高6cm，宽4.5cm]","个"]
[12,"消防毛巾[300mm*300mm，纯棉，吸水性能好]","条"]
[13,"消防逃生面具[头罩的表面涂复的铝箔膜能够反，半面罩是由柔软的橡胶制造，能够适合各种的脸型，符合国家消防行业标准]","个"]
[14,"直流喷雾水枪头[QLD6.0/8I;内扣式接口，口径65]","支"]
[15,"消防战斗服[符合国家消防行业标准]","套"]
[16,"消防平斧[用于破拆砖木结构房屋及其他构件，长约1米]","把"]
[17,"正压式消防空气呼吸器[RHZK6.8/30，符合国家消防行业标准]","套"]
[18,"自救式消防软管卷盘[SP软管卷盘，DN20]","套"]
[19,"消防水带[DN65，PVC材质，25米/盘，配水枪、卡箍接头]","盘"]
[20,"灭火器箱[L53cm*W27cm*H76cm，红色，带灭火器箱字样]","个"]
[21,"消防沙箱[不锈钢制，L120cm*W60cm*H60cm*10cm(箱腿高),带盖子,不锈钢厚度1.0mm]","个"]
["    单位名称（加盖公章）："]
["    联系人："]
["    联系方式："]
["备注：提报品牌型号多于2种的，可在“供应商提报描述”中增加相应描述列。如提报物资于需求描述有差异（含包装量差异），请在备注中进行相应说明。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}